## Slide 1: Solar Panel and Inverter Monitoring System with Mobile Application (FYP III)
PRESENTED BY:
Muhammad Haseeb (200718)
Syed Muhammad Usama Bin Aqil(200758)
Rao Umer Rashid (200776)
SUPERVISOR:
Dr. Muhammad Zaheer
Project ID: E2018

## Slide 2: Presentation Overview
Introduction
Literature Review & Problem Statement
Detailed Methodology
Project Flowchart / Diagram
Achievements / Completed Tasks
Project Deliverables Status
Cost Analysis
Conclusion
References

## Slide 3: Introduction
Design and Implementation of a Solar-Powered Inverter System.
Real-time Monitoring Through Mobile Application.
Providing Insight to the System Performance/Graphical Representation.
Alert Notifications to assist in Diagnostics.

## Slide 4: Literature Review
References | Description
International Renewable Energy Agency. (2021) | Solar photovoltaic (PV) technology dominates the solar energy market, accounting for about 90% of the total solar capacity installed worldwide.
Majhi, Bijoyprakash. "Analysis of single-phase SPWM inverter." PhD diss., 2012. | PWM (Pulse Width Modulation) Technique is widely adopted for the Construction of Inverters
Kumar, Aishwarya, et al. "An IOT based smart inverter." 2016 IEEE International Conference on Recent Trends in Electronics, Information & Communication Technology (RTEICT). IEEE, 2016. | There is a sudden emergence of smart inverters with communication capabilities to record and display data

## Slide 5: Problem Statement
Develop a comprehensive solution to address the current energy crisis caused by scarce resources, focusing on promoting the utilization of renewable energy sources. The solution should aim to mitigate the increasing electricity costs and prevent a decline in the standard of living. Additionally, design a monitoring system that is readily accessible to track energy usage and promote efficient resource management.

## Slide 6: Detailed Methodology

## Slide 7: Detailed Methodology
DESIGN PARAMETERS | 
PV Panel | 30 Watt : 18Vmax , 1.6Amax
Battery | 12V, 7Ah
Inverter | 200 Watt
Transformer | 12 to 220v , 6Amp
Current Sensor (ACS 712) | 5 Amp

## Slide 8: Detailed Methodology
Components Used | 
ACS 712 | Current Sensor
Arduino Nano | Variable PWM, LCD Interfacing, And Data Display
Esp32 | Data Logging and Data Communication With Cloud
Mosfet (IRF 250) | Switching at High Speeds
IC CD 4047 | Generates a fixed PWM, 50 Hz
LM 7809 | Provides 9 Volts
DHT11 | Humidity/Temp Sensor
DH1750 | Light Sensor

## Slide 9: Detailed Methodology
Functionality Explained
PV Panels
Provides Input DC Power
Charge Controller
Voltage Regulation for Safe Charging
Optimum Charging Voltage
Usage of Buck Converter

## Slide 10: Detailed Methodology
Functionality Explained
Sensing Module
Senses Change in AC/DC Power
Interfaced with Inverter/PV Panel/Battery
ESP32 Used for Data Detection and Calibration
Communicates Data with Fire-Base
Battery
Provides Steady flow of DC Power to Inverter

## Slide 11: Detailed Methodology
Functionality Explained
Inverter
Uses Fixed PWM at 50 Hz using CD4047
Push Pull Configuration
Transformer Steps Up 12-volt AC to 220-volts
Load
Load is Powered using the Inverter

## Slide 12: Project Flow Diagram

## Slide 13: Circuit Diagrams
Charge
Controller

## Slide 14: Circuit Diagrams
Sensing Module

## Slide 15: Circuit Diagrams
Sensing Module (contd.)

## Slide 16: Circuit Diagram
Inverter

## Slide 17: Circuit Diagrams
Complete System

## Slide 18: Circuit Diagrams
Cloud Storage

## Slide 19: Mobile Application

## Slide 20: Mobile Application

## Slide 21: Mobile Application

## Slide 22: Mobile Application

## Slide 23: Achievements/Completed Tasks
Designed, Tested and Manufactured an Inverter
Fully Functional Charge Controller
Constructed a sensing module
Successfully recorded data in firebase using ESP32
Created an App from Scratch using KODULAR
Displayed acquired data

## Slide 24: Project Deliverables Status
Completed
Sensor Module integration
Fully Functional Hardware With Load
Mobile Application Development
Complete Project with Hardware and Software
Pending
Integration with Industry level hardware

## Slide 25: Cost Analysis
Item | Cost
PV Panel (30Watts) | 5000/-
Battery/Charger | 7000/-
Inverter | 20000/-
Transformer | 2000/-
Charge Controller | 5000/-
Sensor Module | 5000/-
Miscellaneous | 20000/-

## Slide 26: Conclusion
As per our deliverables mentioned and our accomplished goals, we agree that we have completed 85-90%
As displayed our project is in working condition and is prepared for the required demonstration.

## Slide 27: References
International Renewable Energy Agency. (2021)
Majhi, Bijoyprakash. "Analysis of single-phase SPWM inverter." PhD diss., 2012.
Kumar, Aishwarya, et al. "An IOT based smart inverter." 2016 IEEE International Conference on Recent Trends in Electronics, Information & Communication Technology (RTEICT). IEEE, 2016.